	FINAL JOINT INSPECTION REPORT (EXTERNAL PIPELINE)

(Valid for six (6) months prior taking over date)
	Form QT6(a)

	
	Page 1 of 3




	Name of Development
	:
	

	
	:
	

	
	:
	

	Project Reference No.
	:
	

	Approval Plan No.
	:
	

	
	
	(Attach approved plan and as-built plan of pipeline)

	Date of Inspection
	:
	

	Phase/ Name of Location pipeline checked
	:
	


	Work Discription
	Remarks

	A)  Pipelines
	Type of pipe
	Diameter (mm)
	Lenght (m)
	Satisfactory
	Unsatisfactory
	Comments

	
	
	
	
	(tick relevan column)
	

	1. Main pipes 
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	2. Communication pipes
	
	
	
	
	
	

	
	Type
	Nos
	Size (mm)
	
	
	

	3. Sluice valves
	
	
	
	
	
	

	4. Butterfly valves
	
	
	
	
	
	

	5. Air valves
	
	
	
	
	
	

	6. Scour valves
	
	
	
	
	
	

	7. Hydrants
	
	
	
	
	
	

	8. Valve chambers
	
	
	
	
	
	

	9. Pipe markers
	
	
	
	
	
	

	10. Pressure reducing valves 
	
	
	
	
	
	

	11. Sampling points
	
	
	
	
	
	

	12. Zone meters
	
	
	
	
	
	

	13. Over crossing with/ without supports/ spike guards 
	
	
	
	
	
	

	14. Constant Flow Valve (calibrated)
	
	
	
	
	
	

	15. Pipes laid within public road reserve or pipeline reserve
	
	
	

	16. Other items :
	
	
	
	
	
	

	B)  Individual Meter Stand
	Details
	Satisfactory
	Unsatisfactory
	Comments

	
	
	(tick relevan column)
	

	1. Material type
	
	
	
	

	2. Meter size ( mm )
	
	
	
	

	3. Minimum height (mm). 450mm (± 50mm) between mid-centre of meter to ground.
	
	
	
	

	
	
	
	
	

	4. Un-obstructive position for meter reading and meter   maintenance.
	
	
	

	5. Meter short piece length:       

      
	5D =
	
	
	
	

	
	3D =
	
	
	
	


	FINAL JOINT INSPECTION REPORT (EXTERNAL PIPELINE)

(Valid for six (6) months prior taking over date)
	Form QT6(a)

	
	Page 2 of 3




	Project Reference No.
	:
	 

	Date of Inspection
	:
	


	C)  Multimeter Stand
	Details
	Satisfactory
	Unsatisfactory
	Comments

	
	
	(tick relevan column)
	

	1. Material type
	
	
	
	

	2. Meter size ( mm )
	
	
	
	

	3. Minimum height (mm)*

Between mid-centre of specials to floor slab. 
	
	
	
	

	4. Un-obstructive position for meter reading and meter   maintenance.
	
	
	

	5. Minimum dist. between meter (mm)

Between mid-centre of meters.* 
	
	
	
	

	6. Meter short piece length:       

      
	5D =
	
	
	
	

	
	3D =
	
	
	
	

	 D)  Domestic Bulk Meter Stand
	Details
	Satisfactory
	Unsatisfactory
	Comments

	
	
	(tick relevan column)
	

	1. Material type
	
	
	
	

	2. Meter size ( mm )
	
	
	
	

	3. Minimum height (mm)*

Between mid-centre of specials to floor slab. 
	
	
	
	

	4. Un-obstructive position for meter reading and meter   maintenance.
	
	
	

	5. Minimum dist. between meter (mm)

Between mid-centre of meters.* 
	
	
	
	

	6. Meter short piece length:       

      
	6D =
	
	
	
	

	
	3D =
	
	
	
	

	7. 
Concrete slab 
	
	
	
	
	

	E)  Bulk Meter Stand for Hydrant
	Details
	Satisfactory
	Unsatisfactory
	Comments

	
	
	(tick relevan column)
	

	1. Material
	
	
	
	

	2. Meter size ( mm )
	
	
	
	

	3. Minimum height (mm)*

Between mid-centre of specials to floor slab. 
	
	
	
	

	4. Un-obstructive position for meter reading and meter   maintenance.
	
	
	

	5. Minimum dist. between meter (mm)

Between mid-centre of meters.* 
	
	
	
	

	6. Meter short piece length (mm)     
	6D =
	
	
	
	

	
	3D =
	
	
	
	

	7. Concrete slab 
	
	
	

	F)  Others (Specify)
	Details
	Satisfactory
	Unsatisfactory
	Comments

	
	
	(tick relevan column)
	

	1.
	
	
	
	


*Shall refer to appproved standard drawings
	        FINAL JOINT INSPECTION REPORT (EXTERNAL PIPELINE)

(Valid for six (6) months prior taking over date)
	Form QT6(a)

	
	Page 3 of 3




	Project Reference No.
	:
	


	Checked By  


	
	

	Name 

	:
	

	Firm

CP Registration No        
	:

:
	

	NRIC. No.
	:
	

	 Date                           :
	Signature of Competent Person



	1. Witnessed By  


	
	

	Name 

	:
	

	Staff No
	:
	

	
	Signature of AIR SELANGOR; 

Regional Development Unit


Date                           :

	2. Witnessed By  


	
	

	Name 

	:
	

	Staff No
	:
	

	
	Signature of SYABAS; 

(<50,000LPD) Head, Regional Development Unit/
(≥50,000LPD) Head, of Take Over Unit (HQ)


Date                           :

PAGE  

