	HYDROSTATIC PRESSURE TEST REPORT

EXTERNAL PIPELINE & 

MAIN PIPE COMPLETE WITH FERRULE AND COMMUNICATION PIPE 
	Form QT4(b)

	
	     Page 1 of 1


	Name of Development
	:
	

	
	
	

	
	
	

	   
	
	

	
	
	

	Project Reference No.
	:
	


1. Pressure Test – External Pipeline & Main Pipe Complete With Ferrule And Communication Pipe (Steel Pipe Only)

	Testing Date
	:
	
	Time :
	

	Preperations for Test
	:
	Satisfactory / Not Satisfactory


	
	Communication Pipe Material
	Pressure Test (Bar)

	
	All type
	6.0


	Comm. Pipe Material
	External Pipeline / Main Pipe Location
	Comm. Pipe Dia.

(mm)-
	Initial Specified Pressure (Bar)
	Final Pressure after 2 hours (Bar)
	Result

	
	From; 

Pt./ CH./ Node
	To; 

Pt./ CH./ Node
	
	
	
	Pass √
	Fail X

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


Note:
The pressure chart recorder result shall be attached with this report.

	Checked By  


	
	

	Name 

	:
	

	Firm

CP Registration No        
	:

:
	

	NRIC. No.
	:
	

	 Date                           :
	Signature of Competent Person



	Witnessed By  


	
	

	Name 

	:
	

	Staff No
	:
	

	
	Signature of AIR SELANGOR; 

Executives/ Technician

Regional Development Unit


Date                           :

PAGE  

