	WATER TIGHTNESS TEST REPORT FOR RESERVOIR/ SUCTION CISTERN
	Form QT5

	
	Page 1 of 2




	Name of Development
	:
	

	
	:
	

	
	:
	

	Project Reference No.
	:
	


1. Watertightness Test

	Testing Date
	:
	
	Time :
	

	Type of Reservoir
	:
	

	Reservoir ID
	:
	

	Reservoir Capacity
	:
	


	A.
	Reduced water level (in reservoir)

	
	i)  Initial water level
	         mm
	Date:
	
	Time:
	

	
	ii) Final water level 
	mm
	Date:
	
	Time:
	

	
	
	
	
	
	
	
	

	B.
	Evaporation (in tray)*

	
	iii)  Initial water level
	                   mm
	Date:
	
	Time:
	

	
	iv)  Final water level 
	mm
	Date:
	
	Time:
	

	
	*Using tray size 0.4 sq.m containing not less than 75mm depth of water


	(v)
	Allowable Leakage 
	:
	1 x    
	Depth of water (mm)  

	
	
	
	2000


	Drop in water (After 72 hours)

(mm)
	Actual Leakage
	Allowable Leakage

(mm)
	Result

	level A (i-ii)  
	level B (i-ii)
	level A - level B
	(v)
	Pass √
	Fail X

	
	
	
	
	
	


Result:
Pass  = If; Actual Leakage < Allowable Leakage


Fail   = If; Actual Leakage > Allowable Leakage

Note:  a.

The procedure shall refer with the general principles in SPAN’s Uniform Technical Guidelines and in accordance with SYABAS’ Standard Specification For Pipe Laying Works First Edition: May 2007 requirements.  

	WATER TIGHTNESS TEST REPORT FOR RESERVOIR/ SUCTION CISTERN
	Form QT5

	
	Page 2 of 2




	Project Reference No.
	:
	


	Checked By  


	
	

	Name 

	:
	

	Firm

CP Registration No        
	:

:
	

	NRIC. No.
	:
	

	 Date                           :
	Signature of Competent Person



	Witnessed By  


	
	

	Name 

	:
	

	Staff No
	:
	

	
	Signature of AIR SELANGOR; 

Executives/ Technician

 Regional Development Unit


Date                           :

PAGE  

