	FINAL JOINT INSPECTION REPORT (RESERVOIR/ SUCTION CISTERN/ PUMP HOUSE)

(Valid for six (6) months prior taking over date)
	Form QT6(b)

	
	Page 1 of 3




	Name of Development
	:
	

	
	:
	

	
	:
	

	Project Reference No.
	:
	

	Approval Plan No.
	:
	

	
	
	(Attach approved plan and as-built plan of the structure referred)

	Date of Inspection
	:
	


	Work Discription
	Remarks

	A) Reservoirs (Suction or Service)
	Details/ size (mm)
	Nos
	Satisfactory
	Unsatisfactory
	Comments

	
	
	
	(tick relevan column)
	

	1. Type of tank (Ground/ Elevated)
	
	
	
	
	

	2. Make of tank (RC/Panel tank)
	
	
	
	
	

	3. Capacity (ml)
	
	
	
	
	

	4. Dimensions (length x breadth x height)
	
	
	
	
	

	5. Roof condition
	
	
	
	
	

	6. Wall condition
	
	
	
	
	

	7. Floor condition
	
	
	
	
	

	8. Column condition
	
	
	
	
	

	9. Ventilation lantern
	
	
	
	
	

	10. Inlet pipe
	
	
	
	
	

	11. Outlet pipe
	
	
	
	
	

	12. Overflow pipe
	
	
	
	
	

	13. Scour pipe
	
	
	
	
	

	14. Bypass pipe
	
	
	
	
	

	15. Valve chamber with step

Ladder/ cover/ clean
	
	
	
	
	

	16. Slope gradient
	
	
	
	
	

	17. No visible ground settlement
	
	
	
	
	

	18. Setback
	
	
	
	
	

	19. Hand rails (galvanized)
	
	
	
	
	

	20. Internal ladder (RC/Aluminium/ stainless steel)
	
	
	
	
	

	21. External ladder (rc/Aluminium/ stainless steel)
	
	
	
	
	

	22. Ventilation door (Mosquito proof Monel Metal Mauge)
	
	
	
	
	

	23. Perimeter Drainage
	
	
	
	
	

	24. Drain Manhole
	
	
	
	
	

	25. Level Indicator
	
	
	
	
	

	26. Reservoir Painting 
	
	
	
	
	

	27. RTU/ Telemetry
	
	
	
	
	

	28. Reservoir Information

TWL/ BWL/ Capacity/ ID no.
	
	
	
	
	

	29. Flow Meter
	
	
	
	
	

	30. Safety Signage
	
	
	
	
	

	31. Other Comments
	
	
	
	
	


	FINAL JOINT INSPECTION REPORT (RESERVOIR/ SUCTION CISTERN/ PUMP HOUSE)

 (Valid for six (6) months prior taking over date)
	Form QT6(b)

	
	Page 2 of 3




	Project Reference No.
	:
	 

	Date of Inspection
	:
	


	Work Discription
	Remarks

	B) Pump House
	Details/ size (mm)
	Nos
	Satisfactory
	Unsatisfactory
	Comments

	
	
	
	(tick relevan column)
	

	1. Location Dimension (length x breath)
	
	
	
	
	

	2. Roof type (RC/ Steel)
	
	
	
	
	

	3. Security Grilles 
	
	
	
	
	

	4. Toilet Facilities
	
	
	
	
	

	5. Furniture (table and chairs) 
	
	
	
	
	

	6. Painting works
	
	
	
	
	

	7. Metal roller shutter door
	
	
	
	
	

	8. Floor condition
	
	
	
	
	

	9. Roof condition
	
	
	
	
	

	10. Wall condition
	
	
	
	
	

	11. Fire Extinguisher 
	
	
	
	
	

	12. Other Comments
	
	
	
	
	

	Work Discription
	Remarks

	C) External Civil Works
	Details/ size (mm)
	Nos
	Satisfactory
	Unsatisfactory
	Comments

	1. Access Road
	
	
	
	
	

	2. Premix
	
	
	
	
	

	3. Close Turfing 
	
	
	
	
	

	4. Security Fencing
	
	
	
	
	

	5. Perimeter Barbed Wire (ground level) 
	
	
	
	
	

	6. Padlock
	
	
	
	
	

	7. Boundary Markers
	
	
	
	
	

	8. Signboard
	
	
	
	
	

	9. Perimeter drainage system
	
	
	
	
	

	10. Discharge point 
	
	
	
	
	

	11. Sampling point
	
	
	
	
	

	12. Other Comments
	
	
	
	
	

	Work Discription
	Remarks

	D) External Civil Works
	Details/ size (mm)
	Nos
	Satisfactory
	Unsatisfactory
	Comments

	1. Floor area
	
	
	
	
	

	2. Rooms
	
	
	
	
	

	3. Kitchen 
	
	
	
	
	

	4. Roofing Material
	
	
	
	
	

	5. Floor condition
	
	
	
	
	

	6. Roof condition
	
	
	
	
	

	7. Wall condition
	
	
	
	
	

	8. Floor condition
	
	
	
	
	

	9. Toilets
	
	
	
	
	

	10. Water taps 
	
	
	
	
	

	11. Painting Works
	
	
	
	
	

	12. Perimeter drainage system
	
	
	
	
	

	13. Septic tank
	
	
	
	
	

	14. Other Comments
	
	
	
	
	


	FINAL JOINT INSPECTION REPORT (RESERVOIR/ SUCTION CISTERN/ PUMP HOUSE)

 (Valid for six (6) months prior taking over date)
	Form QT6(b)

	
	Page 3  of 3




	Project Reference No.
	:
	


	E) Power Supply
	Satisfactory
	Unsatisfactory
	Comments

	1. TNB power supplied
	
	
	

	2. Rooms
	
	
	

	3. Kitchen 
	
	
	

	4. Roofing Material
	
	
	


Note:  a.

The compliance of standards and specifications shall refer with the general principles in SPAN’s Uniform Technical Guidelines, SYABAS’ Standard Specification For Pipe Laying Works First Edition: May 2007 requirements.  

	Checked By  


	
	

	Name 

	:
	

	Firm

CP Registration No        
	:

:
	

	NRIC. No.
	:
	

	 Date                           :
	Signature of Competent Person



	1. Witnessed By  


	
	

	Name 

	:
	

	Staff No
	:
	

	
	Signature of AIR SELANGOR; 

Head, Regional Development Unit


Date                           :

	2. Witnessed By  


	
	

	Name 

	:
	

	Staff No
	:
	

	
	Signature of AIR SELANGOR; 

Head, of Take Over Unit (HQ)
Development Section


Date                           :

PAGE  

